#### CHARACTERISTICS

- EN-3-7 D.M. 07/01/05 homologation.

- Monnex Powder fire extinguisher kg 6.

- Best performances today on the market on fires class B and C (“rating” of 233 for fires of class B) accredited .

- Anticorrosive treatments, phosphation, on the outer surface painting polyester.

- Branch-pipe situated extremity the tube, allows to direct and to regulate the jet with one single hand.

- Not pressurized: no risk of compact the powder.

- Powder MONNEX: effective powder extinguishing for fuel fires gaseous liquids and existing today. Approved from the Italian Registry Shipping (R.I.Na.).

#### TECHNICAL CHARACTERISTICS

Height TOT     	485 mm.

time of discharge  	22”

diameter tank	185 mm.

Length jet	8 mt

Weight TOT          	13   kg.

Extinguishing powder  	MONNEX

Working pressure 	1,4 MPa

| PART. NR. | DESCRIPTION |
| --- | --- |
| 1 | Cartridge CO2 |
| 2 | Gasket cartridge |
| 3 | Breakup Disk cartridge |
| 4 | Head cartridge |
| 5 | Cone diffuser |
| 6 | Or-ring |
| 7 | Safety valve |
| 8 | Seal |
| 9 | Safety separation |
| 10 | Gasket in rubber for heading |
| 11 | Cover head |
| 12 | Striker |
| 13 | Seal safety |
| 14 | Or-ring |
| 15 | Cone disbursement |
| 16 | Hook |
| 17 | Washer |
| 18 | Support Base |
| 19 | Wedge |
| 20 | Releases |
| 21 | Handle |